## THE ASSESSMENT OF COLTENE AFFINIS

IMPRESSION MATERIAL

BY THE PREP PANEL

F J T Burke & R J Crisp

Primary Dental Care Research Group

University of Birmingham School of Dentistry

St. Chad’s Queensway

Birmingham B4 6NN, UK

Tel 0121 237 2767

Fax 0121 237 2768

Email f.j.t.burke@bham.ac.uk

& r.j.crisp@bham.ac.uk

## INTRODUCTION

# Product:		Affinis

Description:		Vinyl Polysiloxane Impression Material

Manufacturer:	Coltene/Whaledent Ltd

The President Suite - C

Kendal House

###### Victoria Way

Burgess Hill

Surrey

RH15 9NF

Tel:  01444 235486

Fax: 01444 870640

E-mail: hq@coltenewhaledent.co.uk

----------------------------------------------------------------------------------------------------------

### INSTRUCTIONS TO EVALUATORS

Explanatory letters, questionnaires and packs of the Affinis impression material, were distributed in April 2002. The practitioners were asked to use the material and return the questionnaire. The questionnaire is reproduced in Appendix 1.

#### THE EVALUATORS

Eleven members were selected at random from the PREP panel. Three were female and the average time since graduation was 22 years, with a range of 9 to 39 years.

EVALUATION OF COLTENE AFFINIS IMPRESSION MATERIAL.

#### BACKGROUND INFORMATION – REPLIES TO SECTION 1

When the evaluators were asked how many impressions were taken in a typical week, the result was as follows:

Number of impressions				Number of evaluators

<10							5

  - 5

  - 0

>20							1

A variety of impression materials were used by the evaluators prior to the evaluation. These included Impregum (6), Take 1 (2), Aquasil (1), Doric Easy & Express (1), Flexitime (1), Flo-light (1), Penta Soft (1), President (1), Provil (1), Optosil and Xantopren (1), and Quickstep (1).

The main reasons for the choice of these materials were accuracy (consistent good results) and ease of use. Familiarity with the material, mechanical mixing and patient acceptability were reasons less frequently stated. One evaluator had recently changed the commonly used crown & bridge impression material from a putty/wash system to a heavy/light body system.

10 evaluators (91%) stated that they generally took full arch (as opposed to sectional or quadrant) impressions for routine crown and bridge work.

The evaluators stated that they generally used the following techniques for routine crown and bridge work:

Simultaneous Putty /Wash				7

Two Step Putty/Wash				3

Simultaneous Syringeable Heavy/Light body	6

Monophase						4

Other techniques					0

When the evaluators were asked how many crown and bridge impressions were generally repeated, the result was as follows:

a)	1 in 3				0

b)	1 in 5				1

c)  	1 in 10			2

d)	1 in 20			4

e)	Fewer than 1 in 20		4

One evaluator commented that it was her normal practice to take 2 impressions anyway.

When the evaluators were asked which were the most common reasons for repeating a crown impression the result was as follows:

a)	Air blows						6

b)	Deficient recording of preparation margins	7

c)	Non-homogenous mix				0

d)	Poor wetting of preparation			0

e)	Other reasons (all replies were ‘drags’)		3

The evaluators were asked to rate the ease of use (where 5 = excellent and 1 = poor) and ease of removal (where 5 = easy and 1= difficult) of the materials presently used for crown and bridge impressions with the following results:

| BRAND | EASE OF USE (mean score) | EASE OF REMOVAL (mean score) |
| --- | --- | --- |
| Aquasil | 3 | 3 |
| Doric Easy & Flo-light | 4 | 4 |
| Express | 4 | 4 |
| Flexitime | 4 | 4 |
| Impregum | 3.6 | 3 |
| Optosil/Xantopren | 5 | 5 |
| Penta Soft | 5 | 3 |
| President | 4 | 4 |
| Provil | 3 | 3 |
| Quickstep | 4 | 4 |
| Take 1 | 4 | 3.5 |

The overall mean ratings of the presently used crown impression material were for:	a) Ease of use

Excellent					               Poor

3.9

5			             	                  1

b) Ease of removal

Easy to remove					Difficult to remove

3.4

5			             	                               1

100% (n=11) of the evaluators stated that 10% or less of their crowns and bridges required more than limited adjustment before seating in the mouth and they all also stated that 10% or less had to be remade for other than cosmetic reasons. 18% (n=2) of the evaluators stated that 10-20% of crowns and bridges did require more than limited occlusal adjustment with the remaining 82% (n=9) stating that less than 10% needed more than limited occlusal adjustment.

Seven (64%) of the evaluators did normally use an automatic mixing machine (all of these used a Pentamix).

CLINICAL EVALUATION OF COLTENE AFFINIS IMPRESSION MATERIAL– REPLIES TO SECTION II.

64% of the evaluators (n=7) used the putty/light body and the remainder used the heavy body/light body materials.

The evaluators rated the presentation of the Affinis kit as follows:

Excellent					               Poor

4.5

5			             	              1

Comments made included:

“Similar to others – what about a triangular box?” (evaluator drew a prism shape)

“Same size tubes please for heavy and light body material” (3)

“Scoop too small for full arch impressions”

“Don’t like colour”

All (100%) of the evaluators stated that the instructions were well written, clear, and contained sufficient detail.

Further comments included:

“Laminate instruction”

“Good to see pictures of the application of the material”

“Like to see how temperature affects setting times”

When the evaluators were asked to rate their impression of Affinis after familiarisation, the result was as follows:

a) Excellent 			5 (45%)

b) Good			6 (55%)

c) Unremarkable		0

d) Disappointing		0

e) Poor			0

Comments made by the evaluators scoring other than ‘Excellent’ included:

“Difficult to read margins”

“Multiple technique stages”

“Surface detail could be better”

EVALUATION OF COLTENE AFFINIS AFTER CLINICAL USE– REPLIES TO SECTION III.

A total 164 impressions were taken, comprised as follows:

a) in monophase			42

b) in putty/heavy/light body		122

The evaluators rated the application of Affinis around preparation margins in the following conditions as indicated below:

- Dry fields above and below the gingival margins:

Excellent					               Poor

4.7

5			             	                   1

- Fields above and below the gingival margin in which there were limited moisture problems:

Excellent					               Poor

4.4

5			             	            1

- Moist fields above and below the gingival margin:

Excellent					               Poor

4.1

5			             	                  1

- Wet conditions:

Excellent					               Poor

4.0

5			             	           1

Three (27%) of the evaluators stated that they did not use the material in wet conditions, and one evaluators (9%) did not use the material in condition c) above.

Comments made when the evaluators were asked to describe any difficulties in loading and seating impression trays of Affinis included:

“Light bodied too runny – no control” (2)

“Tip too wide for accurate placement – Dentsply microtips worked better”

The evaluators rated the overall ease of removal of Affinis impressions from the mouth as follows:

Easy to remove				Difficult to remove

4.6

5			             	               1

The evaluators were asked to rate the Affinis impression material for working and setting times in clinical use, with the following results:

- Working time                                      Number of evaluators

Excellent				5

Good					3

Acceptable				2

Too long				1

Too short				0

- Setting time                                        Number of evaluators

Excellent				4

Good					2

Acceptable				3

Too long				2

Too short				0

None of the evaluators reported any problems associated with the cleaning and disinfection of the Affinis impressions.

Unsolicited comments from technicians concerning the Affinis material included:

“Excellent detail and east to remove die from impression”

“Laboratory liked monophase for Chrome/Cobalt dentures”

“Technician rang to see why the change of material and was favourably impressed”

“Easy to cast and liked surface detail”

“Excellent –easy to cast – keep using it!”

The evaluators rated the overall surface quality of the casts returned with the Affinis impressions as follows:

a) Monophase

Excellent					               Poor

4.8

5			             	          1

b) Putty heavy body/light body

Excellent					               Poor

4.6

5             			             	   1

The evaluators rated of ease of the Affinis system as follows:

- Monophase

Excellent					               Poor

4.6

5			             	            1

- Putty/heavy body/light body

Excellent					               Poor

4.1

5     			                     1

When the evaluators were asked to rate how the Affinis impression material compared with the current impression/mixing technique, the results were as follows:

a) Monophase

Worse			  Same                                Better

2.5

5   			                            	       	1

b) Putty/heavy body/light body

Worse			  Same                                Better

2.7

5                			           1

The evaluators were asked to rate the fit of single units, in comparison to units made with their previous material, with the following results:

Number of evaluators

Better						2 (18%)

Same						8 (73%)

Worse						1  (9%)

82% (n=9) of the evaluators stated that they would recommend the Affinis impression system 	to their colleagues.

When the evaluators were asked to comment on any dislikes of the Affinis impression system, the following comments were made:

“Light body too runny & tore easily” (3)

“Colours difficult to read” (2)

“Difficult to tell when fully set”

“Cartridges long and difficult to manipulate round preps.” (2)

“Too long setting time”

Final comments included:

“Excellent surface detail – best material to date” (2)

“Nearly as good as Impregum!”

“Never achieved the ‘perfect impression’ appearance as per glossy brochure”

“Liked it for sectional impressions”

“Unfortunate colour scheme” (3)

“Best impression material I’ve used and technician likes it too”

“Would change to it if it was cheaper!”

“Please check dimensional stability with metal/plastic trays – I think heavy/light system has a shrinkage problem – I had more remakes & adjustments with this system”

##### DISCUSSION AND CONCLUSIONS

The Affinis impression system has been subjected to an extensive evaluation in clinical practice during which 164 impressions were recorded.

Based on this the following comments were made:

#### Presentation

The presentation of Affinis scored highly (4.5 on and a visual analogue scale where 5 = excellent and 1 = poor) and the instructions were stated to be a well written, clear, and contained sufficient detail by all of the evaluators. Two evaluators suggested laminating the instructions.

Application of the material.

The impression material scored very well for application in circumstances where the field above and below the preparation margin was dry or with limited moisture problems (4.7 and 4.4 respectively, on a visual analogue scale 5 = excellent and 1 = poor). When the fields the fields were moist, or in wet conditions, above median scores of 4.1 and 4.0 respectively (on a visual analogue scale 5 = excellent and 1 = poor) were achieved. Three evaluators (27%) stated that the material was not used in wet conditions. Three evaluators (27%) did report some application difficulties due to the low viscosity of the light bodied material.

#### Working and setting times

The working time and setting time was stated to be ‘excellent to acceptable’ by the majority of the evaluators (91% and 82% respectively).

#### Ease of removal from the mouth

A high score of 4.6 (on a visual analogue scale 5 = easy to remove and 1 = difficult to remove) was achieved in comparison with an overall score of 3.4 for the previously used material.

### Ease of use

For ‘ease of use’ of Affinis putty/heavy body/light body scored about the same as for the mean score of the impression systems used prior to this evaluation (4.1 on a visual analogue scale 5 = excellent and 1 = poor). However, the monophase achieved a higher rating of 4.6 on the same scale.

#### Conclusion

Though 3 evaluators (27%) did comment on the colour of the material, the statement that 82% (n=9) of the evaluators would recommend the Affinis impression system to their colleagues indicates how well this impression system has been received.