## A practice-based PREP Panel handling evaluation of Dentsply SDR

F.J Trevor Burke, DDS, MSc, MDS, MGDS FDS (RCS Edin.), FDS RCS (Eng.), FFGDP(UK), FADM1

Russell J Crisp, BDS, DGDP1,

Louis Mackenzie BDS2

1. Primary Dental Care Research Group,

## University of Birmingham College of Medical and Dental Sciences,

## School of Dentistry

St. Chad’s Queensway

Birmingham B4 6NN, UK

## 2.General dental practitioner, Birmingham and Clinical Teacher. School of Dentistry, Birmingham B4 6NN, UK

Voice: 0044 121 237 2767

Fax: 0044 121 237 2768

Email f.j.t.burke@bham.ac.uk

## Introduction

Practice-based research

The volume of clinical material seen in general dental practice makes dental practice an ideal area for the assessment of new techniques and materials.  While the physical performance of dental materials must be satisfactory to meet the demands placed upon them in the mouth, ease of use is also important, given that the clinician, when placing a material which handles easily, may be more likely to produce a better result than when using one which is technique sensitive. The assessment of the handling of a new dental material is therefore of importance.

When practitioners band together to form a group In order to assess the handling of new materials in dental practice, the results are likely to be more objective. All of this becomes possible when practitioner-based research groups are teamed with the expertise available in academic institutions. A UK-based group of practice-based researchers is the PREP (Product Research and Evaluation by Practitioners) Panel. This group was established in 1993 with six general dental practitioners, and has grown to contain 32 dental practitioners located across the UK. It has completed over 60 projects – mainly “handling” evaluations of materials & techniques, but also, currently, has six clinical trials of new materials and techniques (varying from 2 to 5 years) operating in UK dental practices.

# Resin composite restorations and polymerisation contraction stress

The majority of conventional resin composite restorative materials shrink up to 3% on polymerisation, resulting in stresses at the (bonded) restoration margin, or within the restorative material itself. These stresses may result in internal microcracks within the material, separation of the restoration from the cavity wall with resultant post-operative leakage and sensitivity, and, deformation of tooth, also leading to pain post-operatively, generally when the patient bites on a cusp. For a more complete review of the subject, please consult Dent.Update. 2009.36:401-409 [1].

The magnitude of the stresses depends on a number of factors and a variety of clinical techniques have been suggested to reduce or overcome the effect of polymerisation contraction stresses, such as incremental placement, ramped curing, pulse activation and  placement of a flowable composite base layer[1].

Regarding the material itself, factors employed to reduce the effect of polymerisation contraction stresses include:

- Increasing the filler loading of the material, with subsequent reduced volume of resin composite which may shrink, although this may increase the modulus (stiffness) of the material,

- Use of a resin with reduced polymerisation shrinkage, such as Filtek Silorane (3M ESPE, St.Paul, USA) and

- The use of a bulk-fill, low modulus material designed to be curable to a depth of 4mm. A recently introduced product, designed to fulfil this objective is SDR from Dentsply, the product under evaluation in this handling evaluation. This is a bulk-fill flowable composite base material manufactured by  Dentsply DeTrey GmbH, 78467 Konstanz, Germany. UK Contact details are: XXXXXXXXXXXXXXX

### The evaluation: Methods

Members of the PREP Panel were contacted in February 2010 to ascertain whether they would be prepared to participate in this evaluation. Of those who responded positively, twelve members were selected at random. Two were female and their average time since graduation was 26 years, with a range of 17 to 42 years.

Explanatory letters, questionnaires and packs of Dentsply SDR were distributed in March 2010. The practitioners were asked to use the materials as indicated in the manufacturer’s instructions and return the questionnaire after 10 weeks.

### The evaluation: Results

### Evaluation of Dentsply SDR: Background information

The number of posterior composite restorations placed by the evaluators in a typical week varied from <5 (1 evaluator), 5-10                                                          (1 evaluator), and >10 (10 evaluators). Of these, the mean proportion of occlusal restorations placed was 26%, Class II were 48% and MOD restorations made up 26%. A range of posterior composite materials were used by the respondents prior to the evaluation, with the principal reasons for the choice of these materials being good results, ease of use, and polishability. Other reasons reported were good aesthetics, low shrinkage, good wear resistance, sculptability, packability, long working time under ambient light, and previous Prep Panel evaluation. The evaluators currently used a variety of dentine/enamel bonding systems, with seven using a total-etch (etch and rinse) system and seven using a self-etch system.

When the evaluators were asked what steps they took to prevent the adverse affect(s) of polymerisation contraction stress, the results were as follows:

Flowable base layer					9 evaluators (82%)

Incremental placement (only one wall touched per increment)

11 evaluators (92%)

Ramped curing					3 evaluators (25%)

Use of a low-shrink composite			9 evaluators (82%)

Ten (83%) of the evaluators agreed that a flowable, low stress material such as SDR, to bulk fill large cavities in posterior teeth prior to placement of a final layer of resin composite  restorative would be useful.

### Evaluation of Dentsply SDR after clinical use

Evaluators rated the presentation of the kit as follows:

- in terms of the completeness of the system:

Poor         1						                            5    Excellent

4.9

- overall presentation:

Poor         1						                            5    Excellent

4.7

When the evaluators were asked to rate the laminated directions for SDR the result was as follows:

Poor         1						                            5    Excellent

4.9

The total number of restorations placed during the evaluation was 379, with 102 being Class I and 277 Class II.

The evaluators were asked to consider restorations in posterior teeth and indicate the procedures and the brands of materials used and also if they would consider using SDR in place of that material, with the following result:

| Procedure | No. of evaluators | Brands used (If named) | Replace with SDR? |
| --- | --- | --- | --- |
| Amalgam | 6 | Permite (1) SDI (1) Tytin (1) GS80 (1) | 3 + 1 maybe! |
| Glass Ionomer (Open sandwich) | 3 | Fuji 9 (2) Fuji II LC (1) | 2 |
| Glass Ionomer (Closed technique) | 4 | Fuji 9 (2) Fuji II (1) Vitrebond (1) | 2 |
| Bulk fill posterior composite | 8 | Z250 (2), Nayyar core (1) Herculite (1) Filtek Supreme XTE (1) Xtrafil (1) Silorane (2), EsthetX (1) | 7 |
| Layering of Universal composite | 7 | Herculite (1) Filtek Supreme XTE (1), Majesty (1) Spectrum (1) | 3 + 1 maybe! |
| Flowable as liner | 7 | Tetric Flow(1), Filtek Supreme Flow(1), Revolution (1), Kerr Point 4 (1), X Flow(1), Voco Grandio Flow (1), Henry Schein (2) | 6 |
| Flowable as bulk-fill base | 5 | Grandioflow (1) Henry Schein (1) | 5 |

All (100%) of the evaluators considered that the compules worked satisfactorily and that the tip was a satisfactory size.  Comments made included;

“Metal tip was ideal size to insert into a root-canal orifice”

“Perfect dispensing tips – very good”

Eight (67%) of the evaluators stated that the viscosity of the material was satisfactory. The remaining four evaluators stated it was not viscous enough.

When SDR was compared with the evaluators most commonly used material for Class1 & II restorations, the results were as follows:

|  | Better | Same | Worse |
| --- | --- | --- | --- |
| Simplicity | 8 | 4 |  |
| Cavity adaptation | 9 | 3 |  |
| Ease of Placement | 8 |  | 3 |
| Creation of positive contact | 1 | 6 | 4 |
| Time saving | 8 | 4 |  |

Overall, 10 (83%) of the evaluators were satisfied with SDR and 9 (75%) would both purchase the material and recommend it to colleagues.

The evaluators were asked to rate SDR for the following attributes:

- simple to use

Difficult         1						                    5    Simple

4.7

- Internal cavity adaptation

Poor            1						                    5    Excellent

4.8

- Ease of placement

Difficult      1							                 5    Easy

4.2

- Creation of positive contact

Poor          1						                            5    Excellent

3.1

- Time saving

None        1								       5    Significant

4.1

Comments on the concept of bulk filling under resin composite restorations included:

”Liked application tip, ease of placement”

“No post-operative sensitivity noted”

“Easy to use, good compule, time saving”

“Good idea but would like evidence of deep cavity polymerisation conversion and also the polymerisation shrinkage”

“Great concept. Makes placing posterior composites easier. Quicker and reproducible”

“For large supragingival cavities if SDR performs long-term then it will be a predictable acceptable technique”

“Excellent – simple, effective & time saving”

“Surprisingly good – initial concerns of negative effect of polymerisation shrinkage not realised clinically. Use of SDR in certain cavity configurations has revolutionised my posterior composite placement technique”

“I still have uncertainty about the strength of this material under composites”

Final comments included:

“Needs to be more viscous- can produce a sloping floor if patients head tipped –I particularly liked the metal tipped compules”

“It slumps – self-levelling is OK but cavity base not always level intra-orally. Maybe more development would improve this. Perhaps it’s just me!”

“I believe SDR may have a role to play in resurrecting tunnel preparation technique & may be of benefit in placement of direct restorations in primary teeth”

“Packaging and ease of use excellent. The compule tip is very good and allows precise placement”

Discussion and conclusions

The bulk-fill flowable composite base material Dentsply SDR has been subjected to an extensive evaluation in clinical practice by members of the PREP panel in which 379 restorations were placed. Based on this, the following conclusions may be made:

- The kit scored highly in terms of the completeness of the system and for overall presentation.

- The laminated directions and the paper instruction leaflet for SDR achieved high ratings with no suggestions made for improvement.

- After the clinical use of SDR, all the evaluators who used a bulk-fill posterior composite technique and a flowable as a bulk-fill base would consider replacing their current material with SDR. Also, 86% of those evaluators who used a flowable as a liner would also consider changing this material to SDR.

- All the evaluators stated that the compules worked satisfactory and the dispensing tips received praise for size and facilitating the precise placement of the material.

- Over two thirds of the evaluators rated SDR as better than their pre-trial material for Class I & II restorations for simplicity, cavity adaptation, ease of placement and time-saving.

Though some of the evaluators would like more information on the physical characteristics of SDR and the “self-levelling” nature of the material caused some comment, the positive reception of this novel material is demonstrated by the 83% of evaluators were satisfied with the material and the 75% who would both buy the material and recommend it to colleagues.

Reference

1. Burke FJT, Palin WM, James A, MacKenzie L, Sands P. The current status of materials for posterior composite restorations: The advent of low shrink. Dent.Update. 2009.36:401-409.

Legends for illustrations

Figure 1. Occlusal caries, maxillary second molar.

Figure 2. Occlusal cavity maxillary second molar.

Figure 3a. Dentsply SDR placed in cavity

Figure 3b. Dentsply SDR capsule.

Figure 4. Restoration completed by placement of hybrid composite surface layer.

Figure 1.

Figure 2.

Figure 3a.							Figure 3b..

Figure 4.

Acknowledgments

The authors acknowledge the help of the members of the PREP Panel who participated in this evaluation and thank Dentsply UK for funding the evaluation.

Manufacturer’s comments