1. GRANDIO

2. GRANDIO FLOW

Evaluation date: November 2004

Summaries: Grandio - The handling of Voco Grandio has been subjected to a rigorous practice-based assessment, and the positive reception is indicated by the 73% of evaluators who stated they would purchase Voco Grandio.

Grandio Flow - The material was very well received as indicated by the high number (91%) of evaluators who stated they would purchase Grandio Flow.

## THE PREP PANEL EVALUATES VOCO GRANDIO

## AND VOCO GRANDIO FLOW

F J T Burke & R J Crisp

Primary Dental Care Research Group

University of Birmingham School of Dentistry

St. Chad’s Queensway

Birmingham B4 6NN, UK

Tel 0121 237 2767

Fax 0121 237 2768

Email f.j.t.burke@bham.ac.uk

& r.j.crisp@bham.ac.uk

## INTRODUCTION

# Products under evaluation:	Voco Grandio & Grandio Flow

Description:	Universal light cured nano-hybrid restorative material, in normal & flowable versions.

Manufacturer:			Voco Gmbh

P.O. Box 767
27457 Cuxhaven
Germany

UK Contact:				Mark G Allen

Voco Service Centre

Phone:				07836 689951

Fax:					01484 605800

Email:				m.allen@voco.com

________________________________________________________________

Methods

Eleven members, of average time since graduation 24 years, were selected at random from the PREP panel. Explanatory letters, questionnaires and packs of Voco Grandio & Grandio Flow were distributed in August 2004. The practitioners were asked to use the materials where indicated and return the questionnaire.

# RESULTS

1. VOCO GRANDIO

#### Background information

Table 1 shows the number of anterior composite restorations placed in a typical week by the evaluators.

| Number of Restorations | Number of Respondents |
| --- | --- |
| <10 | 2 |
| 10-16 | 2 |
| 16-20 | 3 |
| >20 | 4 |

Table 2 shows the number of posterior restorations placed in a typical week.

| Number of Restorations | Number of Respondents |
| --- | --- |
| <5 | 1 |
| 5-10 | 5 |
| >20 | 5 |

48% of posterior restorations were occlusal, 36% Class II and 16% MODs.

When the evaluators were asked about the technique used for posterior composite restorations, 82% used a dentine bonding agent, with 36% using a glass ionomer base/sandwich. Fifty-five per cent used a flowable composite base layer.

A wide range of anterior composite materials was used prior to this study by the

evaluators and two of them routinely used more than one material.

The principal reasons for the choice of these materials were good aesthetics, ease of use, good results and familiarity. Other reasons reported were ease of finishing, packability, presentation and cost.

A similar wide range of posterior composite materials were also used prior to this study by the respondents with just one evaluator routinely using more than one material.

The principal reasons for the choice of these materials were good results, aesthetics and ease of use. Other reasons reported were ease of finishing, non-sticky, and “contains fluoride”.

Ten (91%) of the evaluators used their present material in compule form and three (27%) in syringe form, with two evaluators using materials in both forms.

When the evaluators were asked to rate the ease of use of their current anterior composite material, the result was as follows:

Difficult to use 1						              5    Easy to use

4.6

When the evaluators were asked to rate the ease of use of their current posterior composite material, the result was as follows:

Difficult to use 1 						              5    Easy to use

4.3

The evaluators currently used a variety of dentine-bonding systems and when they were asked to rate the ease of use of their current dentine/bonding system, the result was as follows:

Difficult to use 1						              5    Easy to use

4.6

When the evaluators were asked to give details of their current polishing system for anterior and posterior restorations they reported that typically finishing burs or discs were followed by a final polishing system for both anterior and posterior restorations. A variety of curing lights were used by the evaluators, and all the evaluators expressed a preference for composite materials to be supplied in Vita shades.

### Voco Grandio in clinical use

Evaluators rated the presentation of the kit as follows:

- in terms of the completeness of the system:

Poor     1						                       5    Excellent

3.9

- in terms of the arrangement of the components:

Poor     1						                       5    Excellent

3.6

- in terms of ability to place on working place:

Poor     1						                       5    Excellent

3.7

- ease of cleaning of the kit::

Poor     1						                       5    Excellent

3.6

- overall presentation:

Poor     1						                       5    Excellent

3.5

When the evaluators were asked if there were ways in which the presentation could be improved it was suggested that the compules be colour coded by shade, and the storage box be made more robust.

When the evaluators were asked to rate the instruction cards for Grandio, and the accompanying dentine bonding system Solobond M, the results were as follows:

a) Voco Grandio:

Poor     1						                          5    Excellent

4.9

b) Solobond M:

Poor     1						                          5    Excellent

4.6

All the evaluators (100%) stated that the compules worked satisfactorily and rated the ease of placement of the compules into the gun as follows:

Poor     1						                        5    Excellent

4.7

A total of 1282 restorations of Voco Grandio were placed in the course of this evaluation, comprised of 169 Class I, 206 Class II, 387 Class III, 174 Class IV and 96 Class V restorations.

When the evaluators were asked to give details of the placement techniques used, all the evaluators replied that for Class I restorations a freehand technique was used, and for Class II, III and IV restorations all the evaluators used a matrix. For Class V restorations the majority were placed freehand.

When the evaluators were asked to give their, and their dental nurses’, assessment of the dispensing and placement of a) Grandio and b) Solobond M, the result was as follows:

- Grandio:

Inconvenient 1						              5    Convenient

4.6

- Solobond M:

Inconvenient 1						              5    Convenient

3.6

Three (27%) of the evaluators stated that they experienced difficulty with the material sticking to instruments and this was overcome by dipping the instrument in the Solobond liquid.

When the evaluators were asked if the material flowed satisfactorily when a matrix was applied, the result was as follows:

No 	1						              5    Yes

4.1

The viscosity of the material was rated by the evaluators as follows:

Too thin       1						              5    Too viscous

3.2

Ten (91%) of the evaluators stated that the restorations were easily finished and polished using their normal systems. One evaluator commented: “Would have liked a glossier finish”

The evaluators rated the surface texture of the Grandio restorations they placed as: ‘High Gloss’ –1 evaluator, ‘Satisfactory gloss’ – 9 and ‘Low gloss’ – 1.

73% (n=8) of the evaluators stated that the shade guide (which is composed of the actual material) did provide an accurate representation of restoration colour.

Comments by the remainder included: “Too translucent when cured” and 	“cured material darker than expected”

73% (n=8) also stated that sufficient shades of Grandio were provided.

The overall aesthetic quality of the Grandio restorations was rated as follows:

Poor     1						                       5    Excellent

3.9

82% (n=9) of the evaluators noticed a change in colour from uncured to cured material and of these nine, four (44%) considered this to be important.

When the evaluators were asked about problems experienced when placing and finishing the restorations of Grandio two evaluators commented that the nozzle on the capsule was too wide making it difficult to get out small amounts of material.

When the evaluators were asked to assess translucency/opacity of Voco Grandio, the result was as follows:

Too opaque 1						          5   Too translucent				                                    3.4

73% (n=8) of the evaluators stated that the sensitivity of Grandio to ambient light was satisfactory.

The evaluators rated the ease of use of Grandio as follows:

Difficult to use 1						            5    Easy to use

4.5

The evaluators were asked to describe how Grandio compared to the composite material normally used, with the results as in Table 3:

|  | Rating – Number of evaluators (percentage) |
| --- | --- |
| Criteria | Better | Same | Worse |
| Handling | 4 (39) | 5(45) | 2(18) |
| Working time | 1(9) | 8(73) | 2(18) |
| Aesthetics | 2 (18) | 5(45) | 4(36) |
| Marginal Quality | 1(9) | 10(91) | 0 |

73% (n=8) of the evaluators stated that if Voco Grandio was available at average cost they would purchase the material.

### DISCUSSION

The Voco Grandio restorative system has been subjected to an extensive evaluation in clinical practice in which 1282 restorations were placed. Based on this the following conclusions may be made:

# Presentation

Though the kit scored satisfactorily in terms of the completeness of the components, it did not score quite so well for overall presentation, ability to position on the work place, and ease of cleaning. The evaluators made suggestions for improvement in these areas.

The instruction cards for both Grandio and Solobond M achieved excellent ratings.

Aesthetic quality

Grandio achieved a satisfactory rating for overall aesthetic quality of the restorations, with the rating for translucency/opacity assessed for Grandio just on the translucent side of the ideal median score.

Ease of use

The materials previously used scored 4.6 (anterior) and 4.3 (posterior) for ease of use (on a VAS where 1 = difficult to use and 5 = easy to use). When the evaluators were asked to rate the ease of use of Grandio the material scored 4.5, close to the score for the previously used anterior material and an improvement on the posterior material.

CONCLUSION

The handling of Voco Grandio has been subjected to a rigorous practice-based assessment. That the material was well received is indicated by the 73% of evaluators who stated they would purchase Voco Grandio.

Illustration 1: Voco Grandio pack:

2. VOCO GRANDIO FLOW

Background Information

All the evaluators stated that they had previously used a flowable composite or compomer restorative material. A variety of flowable materials had previously been used. The majority (64%) had used these materials as a base under composites, with 36% using them to restore Class V cavities and 18% using them for fissure sealants and repairs to restorations.

Results

When the evaluators were asked to rate the instruction card for Grandio Flow the result was as follows:

Poor     1						                          5    Excellent

4.7

All 100%of the evaluators stated that the syringes worked satisfactorily and that a larger cannula was not needed.

A total of 539 restorations were placed during the evaluation comprised of 167 Class I restoration base layers, 147 Class II Base layers, 21 Class III restorations, and 194 Class V restorations. Ten Sealant restorations were also placed.

When the evaluators were asked to give details of the placement techniques used, all the evaluators replied that for Class I restorations a freehand technique was used, and for Class II and III restorations a mix of matrix and freehand techniques were used. For Class V restorations the majority were placed freehand.

When the evaluators were asked to give their, and their dental nurses’, assessment of the dispensing and placement of a) Grandio Flow and b) Solobond M, the result was as follows:

- Grandio Flow:

Inconvenient 1						              5    Convenient

4.9

- Solobond M:

Inconvenient 1						              5    Convenient

3.7

The viscosity of the material was rated by the evaluators as follows:

Too thin       1						              5    Too viscous

3.2

When the evaluators were asked to give details of their current polishing system points, burs, discs, microfine diamonds and polishers were used in various combinations. However, three evaluators commented polishing was not applicable as the material was used for base & sealant use only. Of the eight evaluators who did polish the restorations, six (75%) stated that a high gloss was achieved.

Ten (91%) of the evaluators stated that the five shades of Grandio Flow were sufficient. One evaluator suggested additional Vita B, C and D shades.

The overall aesthetic quality of the Grandio Flow restorations was rated as follows:

Poor     1						                       5    Excellent

4.3

When the evaluators were asked to assess translucency/opacity of Voco Grandio Flow, the result was as follows:

Too opaque 1						          5   Too translucent

3.2

The evaluators rated the ease of use of Grandio Flow as follows:

Difficult to use 1						            5    Easy to use

4.6

When the evaluators were asked to assess translucency/opacity of Voco Grandio Flow, the result was as follows:

Too opaque 1						          5   Too translucent

3.2

The evaluators rated the ease of use of Grandio Flow as follows:

Difficult to use 1						            5    Easy to use

4.6

91% (n=10) of the evaluators stated that if Grandio Flow was available at average cost they would purchase the material.

### DISCUSSION

The Voco Grandio Flow system has been subjected to an extensive handling evaluation, in clinical practice, by members of the PREP panel in which 539 restorations were placed. Based on this the following conclusions may be made:

Presentation

The instruction card for Grandio Flow achieved a high rating of 4.7 (on the visual analogue scale where 5 = excellent and 1 = poor). No problems were reported with the syringes and the size of the cannula.

Aesthetic quality

Grandio Flow achieved a good rating of 4.3 (on a VAS where 5 = excellent and 1 = poor) for overall aesthetic quality of the restorations.

The rating for translucency/opacity of 3.2 (on a VAS where 5 = too translucent and 1 = too opaque) assessed for Grandio Flow is a near ideal median score.

Ease of use

When the evaluators were asked to rate the ease of use of Grandio Flow the material achieved an excellent score of 4.6 (on a VAS where 5 = easy to use and 1 = difficult to use). It was also very highly rated by the evaluators and their DSA’s for convenience of dispensing and placement.

CONCLUSION

The material was very well received as indicated by the high number (91%) of evaluators who stated they would purchase Grandio Flow.

Illustration 2: Voco Grandio Flow

MANUFACTURER’S COMMENTS

We are very pleased to hear that 91% of the testing dentists would recommend Grandio Flow, and 75% Grandio. This shows that VOCO’s concept of “single-shade-simplicity”, i.e. easy handling without complicated shade layering, is widely accepted. To allow this, the ideal natural translucency of 3.2 was chosen. This also has the consequence that the yellow photoinitiator camphoroquinone shines through and leads to a change of appearance from the pre- to the post-cure state, as noted by 80% of the testing dentists. However, camphoroquinone was specifically chosen to allow the material to be cured by all types of curing lights, namely the new generation of LED lights. To enable allow precise shade selection, VOCO always provides shade guides made from original light-cured material – this also allows to evaluate the change of translucency with a thin or a thick layer.